## CMM Program estimate
Formula used | This calculation is comparable to quoted times for work done at certified inspection and metrology houses such as Zeiss ($150 per hr) and Advanced Measurement Lab ($125 per hr) .
Blue print Features * 3.8 = X characteristics
X * 4 = Minutes | This is used to quote inspection programming times at the contract level.
Minutes / 60 = Hours | Estimated CMM programming time Calculator ENGINEERING PREPPED | ENTER
Hours / 24 = Days | How Many Features are required to be checked (4 MIN PER FEATURE). | 47
Days * 2.8 (non prepped allowance) = Days Total | NOTE: curve, arc's and free form surface take longer. Start and stop times are dependent to a lot variables such as other responsibilities that effect prioritizing within the facilities.
Blue Print (B/P) features is total count of features on the B/P | Each feature has an "average" 4 characteristics so multiply by 4 characteristic | 188
3.8 (Constant) is avg. number of Characteristics per Feature
4 is number of Minutes to program a single Feature | Each Characteristic has an "average" of 4 minutes to program | 752
Example: |  | Hours
Using a B/P with 200 Features. | Minutes divided by 60 (60 minutes per hour) | 12.5333
200 * 4 = 800 | Programing cost per hour ($125)fixtures and stylus not included | 1566.6667
760 * 4 = 3200 |  | Total 8hr Days with "Engineering Prepped" drawings
3200 / 60 = 53.3333 |  | 1.5667
50.6667 / 24 = 2.222 | NON-ENGINEERING PREPPED - NO CAD - NO FIXUREING-NO CALIBRATED PROBING
Time = 50.6667 Hours or 2.222 Days | 2.8 is an allowance factor to cover everything that's not included in an "engineering prepped" drawing. Such as: Stylus configuration and calibration, characteristics named and ballooned on drawing in sequential order, fixtures, operation specific details such as types of ASME, DIN, ISO specified evaluations LMC, MMC, inner tangential, outer tangential, minimum zone, Cad Model and application Research, calculated speed and point spacing required per feature, bonus modifiers, repeatability and accuracy testing (gauge R&R) , SPC, CPK and time spend proving program out. | Total Hours Non Engineering Prepped 2.8 Factor
2.222 * 2.8 = 6.216 Total Days (Rounded to 5.5 Days) |  | 32.5867
Cost ($125 per hour)
4386.6667
Total 8hr Days Non Engineering Prepped 2.8 Factor
4.3867