{"text_format":"1","workbook":"xlsx","n_sheets":42,"sheets":["Probe Builds","Quick View","Combo1","Combo2","Combo3","Combo4","Combo5","Combo6","Combo7","Combo8","Combo9","Combo10 (SP)","Combo11 (SP)","Combo12 (SP)","Combo13","Combo14","Combo15 (SP)","Combo16","Combo17 (SP)","Combo18 (SP)","Combo19","Combo20","Combo21","1 (SP) (Star Build)","2 (SP) (Star Build)","3 (SP) (Star Build)","4 (8mm Disc Star Build)","#6 (+Z only)","7 (SP) (Star Build)","10 (Custom Star Build)","20 (14mm Disc Build)","26 (5mm Down)","28 (5mm Down)","29 (30mm Disc)","53 (Tip 4 only)","55 (Tip 2 and 4 only)","56 (Tips 1,3,4 only)","57 (Tip 1 only)","58 (Tip 4 only)","59 (May be Obsolete)","65 (Tip 1 only)","69 (4 Star)"],"not_rendered":{"charts":0,"images":41,"macros":1,"external_links":0,"defined_names":27,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Probe Builds","index":0,"n_rows":282,"n_cols":26,"rows_kept":282,"cut":false,"hidden":false,"merged":[[0,8,0,13],[1,8,1,12]]}
["Click","This color represents VAST XT \"Standard Probe\" assemblies.",null,null,null,null,null,"Click","This color represents VAST XTR \"Standard Probe\" assemblies.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"$A$1"]
["Click","This color represents common named Probes assemblies.",null,null,null,null,null,"Click","This color represents the Probe may be Obsolete."]
["Click","This color represents custom named Probes."]
["Pos","Axis Tip","Name","Probe Head Used","Pcs","Order Number","Thread Type","DK ","L","ML","MLE","DS","DSE","DG","B","W0","W1","W2","Weight (grams)","F"]
[null,null,"Combo1","XT/XTR"]
[1,"1, 3","shouldered stylus",null,2,"626115-0102-046","M5",1,46,36,20,1.5,0.7,11,null,null,null,null,6.3]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1080-300","M5",null,80,null,null,null,null,11,null,null,null,null,10.81]
["C",null,"Cube",null,2,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Screw for cube",null,1,"626109-0015-000","M5",null,20,15,null,null,null,null,null,null,null,null,3]
["C",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,0,-50,null,16]
["E",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,0,10,null,16]
[null,null,"Combo2","XTR"]
[1,3,"Stylus",null,1,"626115-0300-064","M5",3,64,54,null,2,null,11,null,null,null,null,8]
[2,4,"shouldered stylus",null,1,"626115-0102-046","M5",1,46,36,20,1.5,0.7,11,null,null,null,null,6.3]
[3,5,"Shouldered stylus",null,1,"626115-0051-032","M5",0.5,32,22,5,1,0.3,11,null,null,null,null,3.2]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1080-300","M5",null,80,null,null,null,null,11,null,null,null,null,10.81]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"REACH CFX 1 Extension",null,1,"626107-1050-300","M5",null,50,null,null,null,null,11,null,null,null,null,8.66]
["E",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,-90,15,null,16]
["F",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,90,15,null,16]
["G",null,"REACH CFX 1 Extension",null,1,"626107-1040-300","M5",null,40,null,null,null,null,11,null,null,null,null,7.95]
[null,null,"Combo3","XT/XTR"]
[1,1,"Stylus",null,1,"626115-0300-064","M5",3,64,54,null,2,null,11,null,null,null,null,8]
[2,3,"Stylus",null,1,"26115-0200-050","M5",2,50,40,null,1.5,null,11,null,null,null,null,6.4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5"]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1080-300","M5",null,80,null,null,null,null,11,null,null,null,null,10.81]
["C",null,"Cube",null,2,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,null,-50,null,16]
["E",null,"REACH CFX 1 Extension",null,1,"626107-1040-300","M5",null,40,null,null,null,null,11,null,null,null,null,7.95]
[null,null,"Combo4","XT/XTR"]
[1,"1, 4","shouldered stylus",null,1,"626115-0102-046","M5",1,46,36,20,1.5,0.7,11,null,50,0,0,6.3]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1080-300","M5",null,80,null,null,null,null,11,null,-60.9,null,null,10.81]
["C",null,"Joint",null,1,"600342-9002-000","M5",null,30,null,null,null,null,11,null,null,65,null,11]
[null,null,"Combo5","XT/XTR"]
[1,"4, 5","shouldered stylus",null,2,"626115-0102-046","M5",1,46,36,20,1.5,0.7,11,null,null,null,null,6.3]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,11,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1080-300","M5",null,80,null,null,null,null,11,null,null,null,null,10.81]
["C",null,"Cube",null,3,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Screw for cube",null,2,"626109-0015-000","M5",null,20,15,null,null,null,null,null,null,null,null,3]
["E",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,-77,86.5,null,16]
["F",null,"Extension",null,1,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
["G",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,90,45,null,16]
[null,null,"Combo6","XT/XTR"]
[1,4,"Stylus",null,1,"626113-0100-017","M5",1,17,8,null,0.8,null,5]
[2,2,"Stylus",null,1,"626113-0100-014","M5",1,14,5,null,0.8,null,5,null,null,null,null,0.63]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,null,null,null,12.25]
["C",null,"Cube",null,3,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"REACH CFX 1 Extension",null,1,"626107-1075-300","M5",null,75,null,null,null,null,11,null,null,null,null,10.46]
["E",null,"Adapter M5/M3",null,2,"602030-0315-000","M5/M3",null,10,null,null,null,null,11,null,0,null,null,5]
["F",null,"Cube, 90°, single",null,1,"626103-6110-001","M3",null,6.5,null,null,null,null,null,5,null,null,null,0.64]
["G",null,"Clamping screw",null,2,"626103-6110-004","M3",null,8,5,null,null,null,3.5,null,null,null,null,0.5]
["H",null,"Extension",null,1,"626117-4060-201","M5",null,60,null,null,null,null,4,null,null,null,null,5.49]
[null,null,"Combo7","XT/XTR"]
[1,4,"shouldered stylus",null,1,"626115-0102-046","M5",1,46,36,20,1.5,0.7,11,null,50,0,0,6.3]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1080-300","M5",null,80,null,null,null,null,11,null,-60.9,null,null,10.81]
["C",null,"Joint",null,1,"600342-9002-000","M5",null,30,null,null,null,null,11,null,null,65,null,11]
[null,null,"Combo8","XT/XTR"]
[1,1,"Stylus",null,1,"626115-0300-064","M5",3,64,54,null,2,null,11,null,null,null,null,8]
[2,2,"Disc Stylus",null,1,"602030-8091-000","M5",20,60,null,null,null,null,7,null,null,null,null,8]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,null,null,null,12.25]
["C",null,"Cube",null,2,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,null,-38,null,16]
["E",null,"REACH CFX 1 Extension",null,1,"626107-1060-300","M5",null,60,null,null,null,null,11,null,null,null,null,9.3800000000000008]
[null,null,"Combo9","XT/XTR"]
[1,1,"Stylus",null,1,"626115-0200-050","M5",2,50,40,null,1.5,null,11,null,null,null,null,6.4]
[2,"2, 4","Stylus",null,2,null,"M5",3,64,54,null,2,null,11,null,null,null,null,8]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,null,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,1,"000000-1251-674","M5",null,30,null,null,null,null,11,null,null,null,null,8]
["E",null,"REACH CFX 1 Extension",null,2,"626107-1050-300","M5",null,50,null,null,null,null,11,null,null,null,null,8.66]
[null,null,"Combo10 (SP)","XTR"]
[1,"1, 4","Stylus",null,2,"626115-0200-050","M5",2,50,40,null,1.5,null,11,null,0,0,0,6.4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"REACH CFX 1 Extension",null,2,"626107-1060-300","M5",null,60,null,null,null,null,11,null,null,null,null,9.3800000000000008]
[null,null,"Combo11 (SP)","XTR"]
[1,"1, 4","Stylus",null,2,"626115-0300-064","M5",3,64,64,null,2,null,11,null,0,0,0,8]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"Extension",null,1,"600341-8264-000","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,24]
["D",null,"REACH CFX 1 Extension",null,1,"626107-1060-300","M5",null,60,null,null,null,null,11,null,null,null,null,9.3800000000000008]
["E",null,"Extension",null,1,"600341-8262-000","M5",null,60,null,null,null,null,11,null,null,null,null,14]
[null,null,"Combo12 (SP)","XTR"]
[1,"1, 4","Shouldered stylus",null,2,"626115-0103-030","M5",1,30,19,10,2,0.8,11,null,0,0,0,7]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"REACH CFX 1 Extension",null,2,"626107-1060-300","M5",null,60,null,null,null,null,11,null,null,null,null,9.3800000000000008]
[null,null,"Combo13","XTR"]
[1,"1, 4","Stylus",null,2,"626115-0305-090","M5",3,90,80,null,2.5,null,11,null,0,0,0,11]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
[null,null,"Combo14","XT/XTR"]
[1,1,"Disc stylus",null,1,"602030-8091-000","M5",20,600,null,null,null,null,7,null,0,0,0,8]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
[null,null,"Combo15 (SP)","XTR"]
[1,3,"Stylus",null,1,"626103-0100-418","M3",1,5,5,null,0.8,null,5,9,0,0,0,0.8]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"Adapter M5/M3",null,1,"602030-0315-000","M5/M3",null,10,null,null,null,null,11,null,0,null,null,5]
["C",null,"REACH CFX 1 Extension",null,1,"626107-1060-300","M5",null,100,null,null,null,null,11,null,null,null,null,2.04]
["D",null,"Clamping screw",null,1,"626103-6110-004","M3",null,8,5,null,null,null,3.5,null,null,null,null,0.5]
[null,null,"Combo16","XTR"]
[1,2,"T stylus (Pre-assembled)",null,1,"626103-0200-225","M3",2,8.5,8.5,null,1,null,5,null,0,0,0,1.1000000000000001]
[2,4,"Stylus",null,1,"626113-0100-017","M3",1,17,8,null,0.8,null,5,null,0,0,0,1.1000000000000001]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,24]
["D",null,"Adapter M5/M3",null,1,"602030-0315-000","M5/M3",null,10,null,null,null,null,11,null,0,null,null,5]
["E",null,"REACH CFX 1 Extension",null,1,"626107-1060-300","M5",null,60,null,null,null,null,11,null,null,null,null,9.3800000000000008]
["F",null,"REACH CFX 1 Extension",null,1,"626103-5060-000","M3",null,60,null,null,null,null,5,null,null,null,null,1.7]
["G",null,"Clamping screw",null,2,"626103-6110-004","M3",null,8,5,null,null,null,3.5,null,null,null,null,0.5]
["H",null,"REACH CFX 1 Extension",null,1,"626103-5080-000","M3",null,80,null,null,null,null,5,null,null,null,null,1.8]
["I",null,"Cube, 90°, single",null,1,"626103-6110-001","M3",null,6.5,null,null,null,null,null,5,null,null,null,0.64]
[null,null,"Combo17 (SP)","XTR"]
[1,4,"Stylus",null,2,"626115-0302-070","M5",3,70,60,null,2,null,11,null,null,null,null,9.5]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"REACH CFX 1 Extension",null,2,"626107-1120-300","M5",null,120,null,null,null,null,11,null,null,null,null,13.68]
[null,null,"Combo18 (SP)","XTR"]
[1,1,"Stylus",null,2,"626115-0301-075","M5",3,75,65,null,2,null,11,null,null,null,null,8.6999999999999993]
["A",null,"Adapter plate rotatable",null,1,"626107-2000-940","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
[null,null,"Combo19","XT/XTR"]
[1,null,"Stylus",null,2,"626115-0302-070","M5",3,70,60,null,2,null,11,null,null,null,null,9.5]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1100-300","M5",null,100,null,null,null,null,11,null,180,null,null,12.25]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"REACH CFX 1 Extension",null,2,"626107-1120-300","M5",null,120,null,null,null,null,11,null,null,null,null,13.68]
[null,null,"Combo20 (SP)","XTR"]
[1,2,"Stylus",null,2,"626115-0151-040","M5",1.5,40,30,null,1,null,11,null,null,null,null,7]
["A",null,"Adapter plate rotatable",null,1,"600664-9700-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1050-300","M5",null,50,null,null,null,null,11,null,0,null,null,8.66]
["D",null,"REACH CFX 1 Extension",null,2,"626107-1060-300","M5",null,60,null,null,null,null,11,null,null,null,null,9.3800000000000008]
[null,null,"Combo21","XT/XTR"]
[1,"Na","Stylus",null,3,"626115-0200-050","M5",2,50,40,null,1.5,null,11,null,null,null,null,6.4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1120-300","M5",null,120,null,null,null,null,11,null,0,null,null,13.68]
["D",null,"REACH CFX 1 Extension",null,2,"626107-1050-300 ","M5",null,50,null,null,null,null,11,null,null,null,null,8.66]
["D",null,"3033283-208 Probe Base",null,1,"Assign P#","M5",null,null,null,null,null,null,null,null,null,null,null,100]
[null,null,"Combo22","XT/XTR"]
[5,5,"Stylus",null,1,"626115-0151-040","M5",5,65,55,null,3.5,null,11,null,null,null,null,11]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"REACH CFX 1 Extension",null,1,"626107-1050-300","M5",null,50,null,null,null,null,11,null,0,null,null,8.66]
["D",null,"Joint",null,1,"600342-9002-000","M5",null,30,null,null,null,null,11,null,null,29.8,null,11]
[null,null,"1 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 5","Stylus",null,5,"626115-0200-034","M5",2,33.5,24.5,null,1.5,null,11,null,null,null,null,7]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,5,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"2 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 5","Shouldered stylus",null,5,"626115-0100-022","M5",1,22.5,12.5,5,1,0.8,11,null,null,null,null,6]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-0252-000","M5",null,20,null,null,null,null,11,null,null,null,null,13]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,5,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"3 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 5","Shouldered stylus",null,5,"626105-0300-058","M5",3,58,48,null,2,null,11,null,null,null,null,4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,5,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
[null,null,"4 (8mm Disc Star Build)","XT/XTR"]
[1,"1 thru 4","Disc stylus",null,4,"602030-8201-000","M2",8,32,19,null,1.5,null,11,null,null,null,null,3]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,5,"600341-8262-000","M5",null,20,null,null,null,null,11,null,null,null,null,14]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Adapter M5/M2",null,4,"600341-8263-000","M5/M2",null,10,null,null,null,null,11,null,null,null,null,5]
[null,null,"#6 (+Z only)","XTR"]
[1,"2 thru 5","Stylus",null,4,"626115-0300-090","M2",3,90,80,null,2,null,11,null,null,null,null,9.5]
["A",null,"Adapter plate rotatable",null,1,"600664-9700-000","M5",null,null,null,null,null,null,null,null,null,null,null,250]
["B",null,"Extension",null,5,"626107-2100-300","M5",null,100,null,null,null,null,20,null,null,null,null,33.9]
["C",null,"Cube",null,1,"602030-8362-000","M5",null,null,null,null,null,null,null,20,null,null,null,20]
["D",null,"Extension",null,4,"626107-1150-300","M5/M2",null,150,null,null,null,null,11,null,null,null,null,15.83]
["E",null,"Cube",null,4,"602030-8363-000","M5/M2",null,null,null,null,null,null,null,15,null,null,null,8]
[null,null,"7 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 4","Stylus",null,4,"626105-0300-058","M5",3,58,48,null,2,null,11,null,null,null,null,4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8423-000","M5",null,80,null,null,null,null,11,null,null,null,null,43]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,5,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"10 (Custom Star Build)","XT/XTR"]
[1,"1,3,5","Stylus",null,3,"602030-8023-000","M5",2,21,15,null,1,null,11,null,null,null,null,1]
[2,4,"Disc stylus",null,1,"600667-9611-000","M5",15,5840,null,null,1,null,4,null,null,null,null,5]
[3,2,"Stylus",null,1,"600341-0252-000","M5",3,58,48,null,2,null,11,null,null,null,null,4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8261-000","M5",40,null,null,null,null,null,11,null,null,null,null,10]
["C",null,"Adapter M5/M3",null,3,"602030-0315-000","M5/M3",null,10,null,null,null,null,11,null,null,null,null,5]
["D",null,"Extension",null,1,"602030-8305-000","M5",null,50,null,null,null,null,4,null,null,null,null,4]
["E",null,"Extension",null,2,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
["F",null,"Extension",null,2,"602030-9047-000","M5",null,25,null,null,null,null,11,null,null,null,null,9]
["G",null,"Extension",null,2,"602030-8303-000","M5",null,30,null,null,null,null,4,null,null,null,null,2]
["H",null,"Extension",null,1,"602030-9061-000","M5",null,100,null,null,null,null,11,null,null,null,null,22]
[null,null,"20 (14mm Disc Build)","XT/XTR"]
[1,"2, 4","Disc Stylus",null,2,"602030-8203-000","M5",14,5,null,null,null,null,3,2,null,null,null,1]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
["C",null,"Cube",null,1,"600341-8002-000","M5",null,null,null,null,null,null,null,20,null,null,null,20]
["D",null,"Extension",null,2,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
["E",null,"Adapter M5/M2",null,2,"602030-0215-000","M5/M2",null,10,null,null,null,null,11,null,null,null,null,5]
["F",null,"Extension",null,2,"602030-8322-000","M2",null,10,null,null,null,null,3,null,null,null,null,1]
["G",null,"Extension",null,2,"626108-1003-000","M2",null,15,null,null,null,null,3,null,null,null,null,0.7]
["H",null,"Extension",null,2,"602030-8325-000","M2",null,40,null,null,null,null,3,null,null,null,null,2]
[null,null,"26 (5mm Down)","XT/XTR"]
[1,1,"Stylus",null,1,"626115-0501-090","M5",5,90,80,null,3.5,null,11,null,null,null,null,14]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"28 (5mm Down)","XT/XTR"]
[1,1,"Stylus",null,1,"626115-0502-080","M5",5,80,70,null,3.5,null,11,null,null,null,null,19]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
[null,null,"29 (30mm Disc)","XT/XTR"]
[1,1,"Stylus",null,1,"600341-0203-000","M5",30,null,null,null,8,null,null,4,null,null,null,10]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
["C",null,"Screw for disc",null,1,"600341-0212-000","M5",null,17.5,10,null,null,null,null,7,null,null,null,7]
[null,null,"53 (Tip 4 only)","XT/XTR"]
[1,4,"Stylus",null,1,"626115-0302-130","M5",3,130,120,null,2.5,null,11,null,null,null,null,12]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8265-000","M5",null,120,null,null,null,null,11,null,null,null,null,30]
["C",null,"Cube",null,1,"600341-8002-000","M5",null,null,null,null,null,null,null,20,null,null,null,20]
["D",null,"Extension (counter balance)",null,2,"600341-8262-000","M5",null,60,null,null,null,null,11,null,null,null,null,14]
["E",null,"Extension",null,2,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
[null,null,"55 (Tip 2 and 4 only)","XT/XTR"]
[1,"2, 4","Free generic stylus",null,1,null,"M5",2,90,80,null,1.5,null,11,null,null,null,null,12]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"602030-9065-000","M5",null,150,null,null,null,null,11,null,null,null,null,30]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,2,"600341-8262-000","M5",null,60,null,null,null,null,11,null,null,null,null,14]
[null,null,"56 (Tips 1,3,4 only)","XT/XTR"]
[1,"3, 4","Disc stylus",null,2,"602030-8202-000","M2",4,32,19,null,1,null,3,1,null,null,null,3]
[2,1,"Stylus",null,1,"626115-0204-040","M5",2,40,30,null,1.5,null,11,null,null,null,null,6.6]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Adapter M5/M2",null,2,"602030-0215-000","M5/M2",null,10,null,null,null,null,11,null,null,null,null,5]
["C",null,"Extension",null,2,"602030-8325-000","M2",null,40,null,null,null,null,3,null,null,null,null,2]
["D",null,"Extension",null,1,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
["E",null,"Knuckle joint (read comment)",null,1,"600342-9002-000","M5",null,30,null,null,null,null,11,null,-42,30,null,11]
["E",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,null,45,null,16]
["F",null,"Extension",null,1,"602030-8322-000","M2",null,10,null,null,null,null,3,null,null,null,null,1]
[null,null,"57 (Tip 1 only)","XT/XTR"]
[1,1,"Shouldered stylus",null,1,"626115-0105-035","M5",1,35,25,null,1,0.7,11,null,null,null,null,5.6]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
["C",null,"Knuckle joint (Replace with below)",null,1,"602030-8363-000","M5",null,30,null,null,null,null,11,null,null,45,null,11]
["C",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,null,45,null,16]
["D",null,"Extension",null,2,"000000-1251-674","M5",null,30,null,null,null,null,11,null,null,null,null,12]
[null,null,"58 (Tip 4 only)","XT/XTR"]
[1,4,"Shouldered stylus",null,1,"626113-0104-020","M3",1,35,25,null,1,0.7,11,null,null,null,null,5.6]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8262-000","M5",null,60,null,null,null,null,11,null,null,null,null,14]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Knuckle joint (read comment)",null,1,"600342-9002-000","M5",null,30,null,null,null,null,11,null,-90,-20,null,11]
["D",null,"Index Head (Rotating)",null,1,"602030-8363-000","M5",null,40,null,null,null,null,11,null,-90,-20,null,16]
["E",null,"Extension",null,2,"000000-1251-674","M5",null,30,null,null,null,null,11,null,null,null,null,12]
[null,null,"59 (May be Obsolete)","XT/XTR"]
[1,2,"Shouldered stylus",null,1,"626115-0104-022","M3",1,22.5,12.5,5,1,0.8,11]
[2,4,"Stylus",null,1,"626115-0200-030","M3",2,30,20,null,1.5,null,11,null,null,null,null,6.2]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,2,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
[null,null,"65 (Tip 1 only)","XT/XTR"]
[1,1,"Stylus",null,1,"626105-0820-120","M5",8,120,107,null,6,null,11,null,null,null,null,10]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"69 (4 Star)","XT/XTR"]
[1,"3, 5","Stylus",null,5,"626115-0502-080","M5",5,80,70,null,3.5,null,11,null,null,null,null,19]
[2,2,"Stylus",null,1,"626105-0820-120","M5",4,50,40,null,2,null,11,null,null,null,null,9.5]
[3,4,"Stylus",null,1,"626105-0820-120","M5",3,58,48,null,2,null,11,null,null,null,null,8]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"602030-9062-000","M5",null,100,null,null,null,null,18,null,null,null,null,50]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"M5 TF Pro inside screw",null,1,"626107-6060-001","M5",null,15,10,null,null,null,null,null,null,null,null,4]
["E",null,"Extension",null,3,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
["F",null,"Extension",null,1,"600341-8265-000","M5",null,120,null,null,null,null,11,null,null,null,null,30]

{"sheet":"Quick View","index":1,"n_rows":21,"n_cols":20,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["Pos","Axis Tip","Name","Probe Head Used","Pcs","Order Number","Thread Type","DK ","L","ML","MLE","DS","DSE","DG","B","W0","W1","W2","Weight (grams)","F"]
[null,null,"1 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 5","Stylus",null,5,"626115-0200-034","M5",2,33.5,24.5,null,1.5,null,11,null,null,null,null,7]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,5,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"2 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 5","Shouldered stylus",null,5,"626115-0100-022","M5",1,22.5,12.5,5,1,0.8,11,null,null,null,null,6]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-0252-000","M5",null,20,null,null,null,null,11,null,null,null,null,13]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,5,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]
[null,null,"3 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 5","Shouldered stylus",null,5,"626105-0300-058","M5",3,58,48,null,2,null,11,null,null,null,null,4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,5,"600341-8261-000","M5",null,40,null,null,null,null,11,null,null,null,null,10]
[null,null,"7 (SP) (Star Build)","XT/XTR"]
[1,"1 thru 4","Stylus",null,4,"626105-0300-058","M5",3,58,48,null,2,null,11,null,null,null,null,4]
["A",null,"Adapter plate rotatable",null,1,"600667-9611-000","M5",null,null,null,null,null,null,null,null,null,null,null,158]
["B",null,"Extension",null,1,"600341-8423-000","M5",null,80,null,null,null,null,11,null,null,null,null,43]
["C",null,"Cube",null,1,"602030-8363-000","M5",null,null,null,null,null,null,null,15,null,null,null,8]
["D",null,"Extension",null,5,"600341-8263-000","M5",null,80,null,null,null,null,11,null,null,null,null,19]

{"sheet":"Combo1","index":2,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo1"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo2","index":3,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo2"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo3","index":4,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo3"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo4","index":5,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo4"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo5","index":6,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo5"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo6","index":7,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo6"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo7","index":8,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo7"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo8","index":9,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo8"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo9","index":10,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo9"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo10 (SP)","index":11,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo10"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo11 (SP)","index":12,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo11"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo12 (SP)","index":13,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo12"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo13","index":14,"n_rows":7,"n_cols":12,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo13"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo14","index":15,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo14"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo15 (SP)","index":16,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo15"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo16","index":17,"n_rows":7,"n_cols":12,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo16"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo17 (SP)","index":18,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo17"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"VAST XTR Only"]

{"sheet":"Combo18 (SP)","index":19,"n_rows":10,"n_cols":12,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo18"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo19","index":20,"n_rows":10,"n_cols":12,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo19"]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo20","index":21,"n_rows":10,"n_cols":12,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
["STANDARD PROBE"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo20"]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"Combo21","index":22,"n_rows":48,"n_cols":12,"rows_kept":48,"cut":false,"hidden":false,"merged":[]}
[null,"Scroll down for more information."]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo21"]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Probe actual design (Simulated)."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Custom Probe Base Design print."]

{"sheet":"1 (SP) (Star Build)","index":23,"n_rows":11,"n_cols":12,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 1"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"2 (SP) (Star Build)","index":24,"n_rows":11,"n_cols":12,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 2"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"3 (SP) (Star Build)","index":25,"n_rows":11,"n_cols":12,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 3"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"4 (8mm Disc Star Build)","index":26,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 4"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"#6 (+Z only)","index":27,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to #6"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"7 (SP) (Star Build)","index":28,"n_rows":11,"n_cols":12,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Combo6"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Standard Probe"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"10 (Custom Star Build)","index":29,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 10"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"20 (14mm Disc Build)","index":30,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 20"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"26 (5mm Down)","index":31,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 26"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"28 (5mm Down)","index":32,"n_rows":14,"n_cols":12,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 28"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Make Obsolete."]
[null,null,null,null,null,null,null,null,null,null,null,"Use Probe named \"26\"."]

{"sheet":"29 (30mm Disc)","index":33,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 29"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"53 (Tip 4 only)","index":34,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 53"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"55 (Tip 2 and 4 only)","index":35,"n_rows":17,"n_cols":12,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 55"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Actual Stylus Part Number is unknown."]
[null,null,null,null,null,null,null,null,null,null,null,"This is a non-standard stylus design."]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"This is a questionable stylus configuration, "]
[null,null,null,null,null,null,null,null,null,null,null,"it is prone to high bend rates and shanking."]

{"sheet":"56 (Tips 1,3,4 only)","index":36,"n_rows":21,"n_cols":12,"rows_kept":21,"cut":false,"hidden":false,"merged":[[11,11,15,14]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 56"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Custom build for \"Knuckle\" component."]
[null,null,null,null,null,null,null,null,null,null,null,"Zeiss description: These connection elements (See Item E) form a rotatable unit with the cone receiver and an end piece with cone adapter. Three robust internal set screws ensure high clamping forces. For use in production, the connection is fixed by laser welding."]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Replace part number \"602030-8363-000\" (Knuckle Joint) with"]
[null,null,null,null,null,null,null,null,null,null,null,"part number \"602030-8363-000 (Index Head, rotating joint)."]
[null,null,null,null,null,null,null,null,null,null,null,"All Probe assemblies using shim stock must be corrected."]

{"sheet":"57 (Tip 1 only)","index":37,"n_rows":13,"n_cols":12,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 57"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Replace part number \"602030-8363-000\" (Knuckle Joint) with"]
[null,null,null,null,null,null,null,null,null,null,null,"part number \"602030-8363-000 (Index Head, rotating joint)."]
[null,null,null,null,null,null,null,null,null,null,null,"All Probe assemblies using shim stock must be corrected."]

{"sheet":"58 (Tip 4 only)","index":38,"n_rows":13,"n_cols":12,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 58"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Replace part number \"602030-8363-000\" (Knuckle Joint) with"]
[null,null,null,null,null,null,null,null,null,null,null,"part number \"602030-8363-000 (Index Head, rotating joint)."]
[null,null,null,null,null,null,null,null,null,null,null,"All Probe assemblies using shim stock must be corrected."]

{"sheet":"59 (May be Obsolete)","index":39,"n_rows":11,"n_cols":12,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 59"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"May be Obsolete."]

{"sheet":"65 (Tip 1 only)","index":40,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 65"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]

{"sheet":"69 (4 Star)","index":41,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Return to Probe Builds"]
[null,null,null,null,null,null,null,null,null,null,null,"Make a selection"]
[null,null,null,null,null,null,null,null,null,null,null,"Return to 69"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,"Use on VAST XT and or XTR"]
[null,null,null,null,null,null,null,null,null,null,null,"Non-rotating for XTR"]