## Slide 1: Vast XT gold

## Slide 2: Skeleton side -Y

## Slide 3: Skeleton side +X

## Slide 4: Fail Area, +X Side bottom Left
A leaf-spring had failed and broken into two pieces.

## Slide 5: Fail Area, +X Side bottom Left
There is 4 springs in total that broke. 2 springs in each corner.
This broke in bottom left of +X side & Bottom Right on –X side.

## Slide 6: OK Area, -X side Top Right
An OK condition showing both leaves attached.